Construction Site Safety Plan

Project Name: ___  Site Address: ___  Contractor: ___  Project Manager: ___

1. Project Description and Scope

Overview of the construction project and work covered by this plan.

Type of construction: new build / renovation / demolition / civil works

Duration: start date ___  estimated completion ___

Peak workforce on site: approximately ___ workers plus subcontractors

Key subcontractors and their safety plan compliance requirements

2. Site Hazards and Risk Assessment

Primary hazards identified during site pre-construction survey:

Working at height — scaffolding, ladders, leading edges, roofwork

Excavations — cave-in risk, proximity to underground utilities, water ingress

Crane and plant operations — exclusion zones, load paths, operator certification

Electrical hazards — temporary supplies, overhead lines, buried cables (call 811 before digging)

Hazardous materials — asbestos survey completed? Lead paint assessment done?

3. Control Measures

Engineering and administrative controls for identified hazards:

Fall protection: guardrails at all leading edges above 6 ft; harness required above 10 ft

Excavation: daily inspection by competent person; trench box or sloped/benched as required

Crane lift plan documented for all lifts over 75% capacity or within 10 ft of power lines

Lockout/tagout program posted and trained; GFCI on all temporary electrical circuits

Asbestos/lead abatement by licensed contractor before any disturbance

4. Personal Protective Equipment

Minimum PPE requirements for all workers on site:

Hard hat (ANSI Z89.1 Class E) — mandatory at all times on site

High-visibility vest — mandatory when near plant or vehicle movement

Steel-toed boots (ASTM F2413) — mandatory at all times on site

Safety glasses — mandatory when using power tools, cutting, or grinding

Gloves, respiratory protection, hearing protection as task requires

5. Emergency Response

On-site emergency procedures:

Site emergency assembly point: [describe location on site map]

Site emergency contact: ___ (name and mobile)

Nearest hospital with emergency department: ___

First aid kit location: site office; first aiders on site: [list names]

All incidents reported to site manager immediately; OSHA report within 8 hrs if severe

6. Training and Inductions

Safety training requirements before work begins:

Site induction: all workers and visitors before accessing site for the first time

OSHA 10-hour or 30-hour training: required for all supervisors

Task-specific training logged: crane operation, confined space, fall protection

Toolbox talks conducted weekly; attendance recorded and filed

Adapt all sections to your specific site conditions and applicable regulations before use.