Emergency Action Plan

Facility Name: ___  Address: ___  EAP Administrator: ___  Date: ___

1. Purpose and OSHA Requirement

OSHA 29 CFR 1910.38 requires this EAP for workplaces with more than 10 employees.

Applies to all employees, contractors, and building occupants

Posted in a visible location and distributed to all employees

Reviewed with each new employee and updated after any facility change

2. Emergency Reporting Procedures

How to report an emergency:

Call 911 for fire, medical emergency, or immediate threat

Notify facility emergency coordinator: ___ (phone: ___)

Activate the nearest fire pull station if fire is present

Do not use elevators to report or evacuate during an emergency

3. Evacuation Procedures

Steps to evacuate the building safely:

Upon alarm or instruction: stop work, secure critical items if safe to do so

Exit via nearest marked emergency exit — routes posted in each work area

Do not use elevators; assist individuals with mobility impairment to stairwell refuge area

Proceed to designated assembly area: [describe location]

Do not re-enter until authorized by emergency coordinator or emergency services

4. Assembly and Accountability

How to account for all personnel after evacuation:

Primary assembly area: [address / description, e.g., parking lot north side]

Alternate assembly area: [description — used if primary is inaccessible]

Floor wardens conduct headcount against roster and report to emergency coordinator

Missing persons reported to emergency services immediately

5. Shelter-in-Place Procedures

Used for severe weather, hazardous material release, or active threat:

Severe weather: move to interior rooms on lowest floor; avoid windows

Hazmat release outdoors: seal windows/doors, turn off HVAC, await official all-clear

Active threat: Run, Hide, Fight; call 911 when safe; follow law enforcement instructions

6. Employee Training and Responsibilities

Training requirements and individual responsibilities:

All employees trained on this EAP at hire and annually thereafter

Floor wardens designated for each floor: [list names and floors]

Employees with disabilities — personal emergency evacuation plans on file with HR

EAP drills conducted at least annually; findings documented and plan updated

Adapt all sections to your specific site conditions and applicable regulations before use.